## Slide 1
Electronically Commutated (EC) Motor Plug Fan Technology and Application

## Slide 2
EC Fan Basics

## Slide 3
Controller
Motor
Impeller
Fan
qV  psf
Ped

## Slide 4
Electronically commutated motor with integrated electronics

## Slide 5
Commutation

## Slide 6: EC Motor: Efficiency level
6
EC motors exceed efficiency class IE4
*50 Hz, according to IEC 60034-30
Hysteresis
No slip losses thanks to synchronous running
Low heat losses

## Slide 7: EC Motor
  Motor design EC Vs AC
Permanent magnets
ONE Teeth wiring
AC Motor wiring use more Copper
EC Motor
AC Motor

## Slide 8
Isssues with Regular AC Belt Driven Fan
Regular maintenance cost for belts, pulleys, bearings, motor bearings, motor winding, etc..
High losses and power consumption
Belt dust – associated cost
Expensive and time consuming to fix

## Slide 9: EC motor VS AC+VSD

## Slide 10
Overall Fan Efficiency EC VS AC
Comparison of fan systems by Measurement

## Slide 11: ECupgrades Examples in Hong Kong
Examples

## Slide 12: Commercial Building Case 1
AC Belt Driven with external VFD
EC Plug Fan
Measured Result: Saved 40% Energy Annually

## Slide 13: Commercial Building Case 2
Save 30% power consumption
10 kW to 7kW
Short retrofit time – 2 Days

## Slide 14: Casino
Save 40% power consumption
15 kW to 9kW
Short retrofit time – 2 Days

## Slide 15: Office building
Save 50% power consumption
6.75 kW to 3.4kW
Short retrofit time – ONE Day

## Slide 16: Shopping Mall Case
Save 35% power consumption
5kW to 3.2kW
Short retrofit time – 1 Day

## Slide 17: Office PAU
Save 50% power consumption
1kW to 0.49 kW
Short retrofit time – Half Day

## Slide 18: -Energy Saving: Consumed 43% LESS electricity than before
University Kitchen Ventilation EAF & FAF

## Slide 19: Government Office AHU
Exceptional Reliability: from 2010 to now
Maintenance free

## Slide 20
Thank you
Clement Jim – EC Market Specialist